New infrared spectroscopic database for bromine nitrate

Georg Wagner*, Manfred Birk

Deutsches Zentrum für Luft- und Raumfahrt e.V. (DLR), Remote Sensing Technology Institute, Oberpfaffenhofen, D-82234 Wessling, Germany

*Corresponding author: Georg Wagner, georg.wagner@dlr.de

Abstract

Fourier transform infrared measurements of bromine nitrate have been performed in the spectral region 675–1400 cm−1 at 0.014 cm−1 spectral resolution. Absorption cross sections were derived from 38 spectra covering the temperature range from 203 to 296 K and air pressure range from 0 to 190 mbar. For line-by-line analysis, further spectra were recorded at 0.00094 cm−1 spectral resolution at 223 and 293 K. The sample was synthesized from ClONO2 and Br2. Band strengths of the bands 3 around 803 cm-1 and 2 around 1286 cm-1 were determined from three pure BrONO2 measurements at different temperatures and pressures. Number densities in the absorption cell were derived from pressure measurements of the purified sample taking into account small amounts of impurities determined spectroscopically. Resulting band strengths are S3 = 2.872(52)×10-17 cm2molec-1cm-1 and S2 = 3.63(15)×10-17 cm2molec-1cm-1. Absorption cross sections of all measurements were scaled to these band strengths. Further data reduction was achieved with an interpolation scheme based on two-dimensional polynomials in ln(pressure) and temperature. The database is well-suited for remote-sensing application and should reduce the atmospheric bromine nitrate error budget substantially.

Keywords

bromine nitrate; infrared absorption cross sections; spectroscopic database; temperature dependence; air pressure dependence; Fourier transform spectroscopy

Highlights

New absorption cross section database for 2 and 3 bands of BrONO2

Data reduction with two-dimensional polynomial in pressure and temperature

Band strengths for 2, and 3 bands of BrONO2 determined

Temperature and air pressure dependence measured

Extensive error investigation with consolidated accuracies

1. Introduction

There is about a factor 200 less inorganic bromine than chlorine in the stratosphere but bromine cycles have a 45 times greater ozone depletion potential [1]. While most of the chlorine is bound in ClONO2 and HCl [2] most of the bromine is in active BrO during daytime. In contrast to ClONO2 the analogous reservoir species BrONO2 is almost completely photolyzed during daytime. The reservoir species ClONO2 and BrONO2, being chemically stable compounds when compared to the active species, are not directly involved in fast catalytic ozone depletion cycles. The measurement of stratospheric BrONO2 is essential to determine the inorganic stratospheric bromine budget, gain insight to bromine partitioning in the stratosphere and validate photochemical models.

BrONO2 has strong rovibrational bands in the thermal infrared. Due to the low abundance the infrared signatures in atmospheric spectra are very small. The weak features barely outside the noise and buried under stronger lines have been detected in thermal limb emission spectra of the satellite instrument MIPAS/ENVISAT by Höpfner et al. [3] and the stratospheric balloon instrument MIPAS-B2 by Wetzel et al. [4], both using the 3 band with a strong Q branch around 803 cm-1. The accuracy of the retrieved mixing ratio profiles was limited by the accuracy of the absorption cross sections [3] indicating the need for new laboratory measurements.

The first measurements of infrared absorption cross sections of BrONO2 have been carried out by Burkholder et al. [5]. They made ambient temperature measurements of the 3 band with a stated band strength uncertainty of about 20%. Orphal et al. [6] measured relative absorption cross sections of the 3 band, the 2 band around 1286 cm-1, and the 1 band around 1709 cm-1. The band strength determined by Burkholder et al. was used to scale the absorption cross sections. HITRAN2012 [7] contains the scaled 3 data for 296 K determined by Orphal et al. For atmospheric retrieval the missing temperature dependence of the absorption cross sections was assumed to be a problem since it was expected that the Q branch intensity, being most relevant for analyzing atmospheric spectra, is strongly temperature dependent as in case of ClONO2. The temperature dependence was modelled with a Hamiltonian approach calculating rovibrational lines using the similarity to ClONO2 [8]. The absorption cross sections of 296 K were scaled to obtain values for 218 K which were entered into HITRAN2012 [7]. These data were used in the BrONO2 retrievals from MIPAS/ENVISAT by Höpfner et al. [3] mentioned above. In conclusion BrONO2 laboratory spectroscopic measurements in the infrared are rather rare. There is only one determination of absolute absorption cross sections of BrONO2 in the literature and the stated accuracy is rather low. No temperature dependence was ever measured. Improved spectroscopic data are needed to support atmospheric measurements.

The authors have already measured temperature and air pressure dependent absorption cross sections of the related ClONO2 molecule [8]. Since ClONO2 is a precursor of BrONO2 and infrastructure and experience were available it was feasible to measure the even more challenging BrONO2.

2. Experimental setup

All absorption spectra were recorded with the Bruker IFS 125HR interferometer located at DLR in Oberpfaffenhofen, Germany. Common measurement parameters are given in Table 1. Pressure measurements were carried out with thermostated MKS Type 127A/627A Baratron pressure transducers with an accuracy of 0.35%, as stated by the manufacturer. A coolable/heatable (190–350 K) 22 cm single pass absorption cell equipped with two window pairs, capable of quasi-simultaneous FIR+MIR+UV measurements was applied. This cell is mounted inside the evacuated sample compartment of the spectrometer (see Figure 1) and was built to measure bromine in the UV quasi-simultaneously with bromine nitrate in the MIR. The cell, together with the vacuum apparatus, can be moved from the outside by a screw mechanism to position either window pair in the beam path. The cell consists of a double-jacketed Duran glass body and two stainless steel flanges which were coated with PFA (perfluoralcoxy-copolymer) by Impreglon, Germany. Cooling is achieved by flowing methanol from a bath cryostat through the glass cell double jacket and the flanges. Two glass tubes connect the cell to the outside of the Bruker interferometer allowing for gas flow. The cell can thus be filled from the outside without breaking the vacuum of the spectrometer. Seals are made from spring-loaded PTFE. Thus only materials not susceptible to corrosive substances were in contact with the sample. The temperature of the cell’s walls was measured with 2 Pt100 sensors (class 1/10B). Another sensor was attached to one of the flanges. A LakeShore 218E temperature monitor instrument was used for temperature readout. High temperature homogeneity is achieved by operating the cell in vacuum, by special heat sinking of the windows to the flange, by minimizing the diameter of the windows, and by radiation shielding of the windows. A finite element thermal model of the windows was developed in the design phase. The temperature homogeneity was tested by measuring a N2O spectrum and analyzing the relative line intensities. The resulting average gas temperature differed from the cell body temperature by less than 0.1 K. Frequency calibration was achieved by separate N2O measurements taken with the same field stop diameters as the measurements for ACS and LBL. The reference line positions were taken from Maki and Wells [9]. The frequency precision from the standard deviation of the calibration factor at 1000 cm-1 is 3×10-6 cm-1 for LBL and 1.6×10-5 cm-1 for ACS.

Table 1. Common IR measurement parameters. ACS: absorption cross sections, LBL: line-by-line.

| Source | Globar |
| --- | --- |
| Field stop diameter | 2.5 mm for ACS 1.3 mm for LBL |
| Maximum optical path difference (MOPD) | 36 cm for ACS 529 cm for LBL |
| Focal length of collimator | 41.8 cm |
| Beamsplitter | Ge on KBr |
| Sample cell windows | AgCl |
| Absorption path | 22.1(1) cm |
| Detector | HgCdTe (MCT), 40 K |
| Optical filter | Low pass 1400 cm–1 |

Figure 1. Sketch of new single pass absorption cell in sample compartment of Bruker IFS 125HR. Two windows with baffles for radiation shielding are located on the front side. The coolant tubes are visible to the right side of the cell.

Synthesis and sample handling for spectroscopic measurements were carried out applying a Duran glass apparatus with several exits equipped with PTFE-sealed Normag stopcocks. Duran glass tubes, also with PTFE-sealed Normag stopcocks, were attached to the apparatus via Swagelok PTFE fittings and were used for trapping, evaporating, and storing samples at liquid nitrogen temperature. The apparatus was connected to the absorption cell inside the Fourier-transform spectrometer (FTS) by a short glass tube. The apparatus is shown in Figure 2.

Figure 2. Vacuum apparatus with PTFE stopcocks. On top four Baratron pressure transducers with different ranges. On the lower right is a cold trap incorporated in the glass apparatus. The glass connection to the cell inside the spectrometer can be mounted at the right end of the apparatus. The rightmost pressure transducer can be used to measure the pressure in the cell during recording of spectra while disconnected from the rest of the vacuum apparatus and thus minimizing the surface in contact with the gas. The pressure transducer itself can also be separated in order to minimize the time where its metal surfaces are in contact with the gas.

3. Sample synthesis

BrONO2 was synthesized from ClONO2 and Br2 according to Orphal [10] and the reference (Schmeißer et al. [11]) cited in [10]:

ClONO2 + Br2 = BrONO2 + BrCl  (1)

ClONO2 was synthesized from N2O5 + Cl2O. A description is given in Ref. [8].

The synthesis of BrONO2 required several iterations for optimization. About 1.3 mmol (52 mbar in 0.53 l) of ClONO2 were condensed in a small trap with a few cm3 volume. 0.65 mmol Br2 were added and the trap closed and agitated at 8°C for 15 min. The small volume was needed to avoid complete evaporation of ClONO2 since the reaction was expected to occur in the liquid phase. Br2 disappeared completely due to the excess of ClONO2. The reaction mixture was first cooled to l-N2 temperature, evacuated and then thermostated at –72.5°C using an isopropyl-acetate slush. While the reaction vessel was connected to the vacuum apparatus the pressure rose due to evaporation of the more volatile BrCl and ClONO2. At this temperature the vapor pressure of pure BrCl is about 20 mbar [12] and that of ClONO2 2.9 mbar [8]. The reaction vessel was closed and BrCl and excessive ClONO2 were pumped off. Then the reaction vessel was opened again. This procedure was repeated until the pressure was ca. 0.5 mbar. The BrCl was thus mostly removed and a mixture of only BrONO2 and small amounts of ClONO2 and N2O5 remained. The sample was transferred into another tube at –48°C. The vapor pressure of nearly pure BrONO2 was 0.48 mbar at –44°C which is somewhat less than 0.64 mbar reported by Spencer and Rowland [13]. UV measurements showed the absence of Br2. BrONO2 was found to be very stable in the absorption cell. The decomposition was 24% in 16 h at 223 K and 33% in 4.5 h at 293 K. The decomposition rate at 293 K was considerably slower (2×10-5 s-1) compared to the value measured by Orlando and Tyndall [14] (10-3–10-2 s-1 at 320–340 K). While Orlando and Tyndall have indicated thermal decomposition to NO2 and BrO in our case a contribution of hydrolysis with water from the walls of the cell forming HNO3 was observed. At the beginning of the experiments the cell was not sufficiently pumped and a lot of HNO3 was formed. UV Br2 measurements indicated the correct stoichiometry (–pBrONO2 = 2 × pBr2) according to:

2BrONO2 + H2O = 2HNO3 + Br2+0.5O2    (2)

The amount of gaseous HNO3 formed was too small, likely caused by wall adsorption. An example of a test spectrum of BrONO2 at –40°C is shown in Figure 3. Beside the three strong rovibrational bands of BrONO2 there is only minor absorption by HNO3 (850–910, 1310–1350 cm-1) and N2O5 (1230–1260 cm-1). Three weaker BrONO2 bands (4/8 700–760, 3+5? 1340–1375, 28 1430–1470 cm-1 [10]) are also visible. Since the spectrum in Figure 3 is very clean the contaminants are only barely visible.

Figure 3. Transmittance spectrum of BrONO2 (0.13 mbar, –40°C, 22.1 cm absorption path). BrONO2 bands are marked in blue, contaminant bands in black. Test spectra were recorded in a wider spectral range using the standard MCT detector of the Bruker IFS 125HR without optical filter.

4. Pure BrONO2 measurements for band strength determination and analysis

Measurements of pure BrONO2 at different temperatures have been recorded to determine the band strengths of the strong bands around 800 and 1280 cm-1. This requires a very clean sample, a vacuum system and cell which have been pumped for long time to remove water, temperatures lower than 270 K, and measurements carried out directly after filling the cell. Occasionally the AgCl window spectrum was altered by a reaction product of BrONO2. Evidence for solid state spectra arises from the spectral shapes being structureless broad features which also were visible while the cell was evacuated. Unfortunately, the window spectrum had signatures interfering with the main BrONO2 bands. Some of these spectral features vanished after some days at ambient temperature, some of them persisted. Thus, it was very important to have reference spectra with the same contaminants. Therefore, reference spectra were measured just before filling and directly after pumping off the sample. Both spectra were included in the analysis to assess the influence of the reference spectrum. BrONO2 spectra were taken at 223, 243, and 263 K. Spectra were corrected for detector non-linearity using out of band artefacts assuming a 3rd order polynomial detector curve. Mixing ratios (labelled X in Table 2) of contaminants ClONO2, HNO3, and N2O5 were fitted in the transmittance spectra. Reference absorption cross sections for ClONO2 and N2O5 were taken from [7,8]. Absorption cross sections for HNO3 were calculated from HITRAN2012 [7]. Contaminant absorption was removed based on the fit results. Absorption cross sections were calculated based on the partial pressure of BrONO2 derived from the total pressure and contaminant partial pressures. A baseline correction was carried out. Regions “R” left and right of the band were regarded as zero absorption and the average absorption cross sections within each region were calculated. A straight line was calculated connecting the two averages with the end points at the centers of the regions. This line was subtracted from the absorption cross section spectrum. In case of 3 for four spectra the influence of the slope on the area was <0.2%, only for spectrum #4 the area was 1% smaller. Spectra #4 and #5 have different empty cell spectra. Including the slope the area is about the same showing that the slope helps to fix baseline problems. The corrected baseline for #4 and #5 together with the regions for baseline determination can be seen in Figure 4. Details for band strength determination are summarized in Table 2. The final absorption cross section spectra which entered the area determination are shown in Figure 5.

Figure 4. Baseline region of corrected 3 absorption cross sections for spectra #4 (black) and #5 (red) in Table 2. The black bars indicate the regions used for baseline correction. It can be seen that the band extends to 850 cm-1.

Table 2. Measurements and analysis results for band strength determination. Integration ranges 3: 765–850 cm-1, 2: 1250–1320 cm-1. Fit ranges HNO3 1: 855–939 cm-1, HNO3 2: 1311–1349 cm-1, ClONO2: 760–781 cm-1. Mixing ratios are labelled with X.

| # | T/K | Ptot/mbar | XHNO3 1 | XHNO3 2 | XClONO2 | R3/cm-1 | S3/(10-17 cm2molec-1 cm-1) | R2/cm-1 | S2/(10-17 cm2molec-1 cm-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11) | 263.5 | 0.1508 | 0.01085(36) | 0.00955(16) | 0.0434(12) | 755-763 850-875 | 2.851 | 1175-1200 1378-1400 | 3.631 |
| 2 | 243.6 | 0.2370 | 0.00841(21) | 0.006783(97) | 0.02877(62) | 753-764 850-875 | 2.873 | 1175-1200 1375-1400 | 3.704 |
| 3 | 243.6 | 0.2370 | 0.00789(22) | 0.006480(99) | 0.02829(63) | 753-764 850-875 | 2.867 | 1175-1200 1375-1400 | 3.556 |
| 4 | 223.8 | 0.1318 | 0.01138(34) | 0.00927(15) | 0.03683(84) | 753-764 850-875 | 2.900 | 1175-1200 1375-1400 | 3.9132) |
| 5 | 223.8 | 0.1318 | 0.01028(35) | 0.00874(16) | 0.03575(86) | 753-764 850-875 | 2.895 | 1175-1200 1375-1400 | 3.605 |

1) Only one suitable reference spectrum available. 2) Removed from analysis as outlier. The sample spectrum was contaminated by a solid state spectral feature blending 2 which was missing in the empty cell spectrum before filling but present in empty cell spectrum measured after the BrONO2 was pumped off.

Figure 5. Pure BrONO2 spectra used for band strength determination. A: 3, B: 2. For clarity spectra have been offset in wavenumber and absorption cross section. The spectra are very clean. ClONO2 and HNO3 are removed well. The plot ranges are identical with the integration ranges. Especially in case of 3 it can be seen that a large spectral range had to be included to cover the entire band (see also Figure 4). The plots also show that a good baseline is essential for area determination.

While in case of 3 the band strength appears to have a small trend with temperature, such a trend is not visible for 2. Based on the experience [8] that the band strength, when defined as integral over an entire band system, is temperature independent it was assumed that this is true in the present case, as well, and that the apparent trend is a coincidence. In case of spectra where two references were available (#2+#3, #4+#5) the band strengths were averaged. Finally total averages were formed for all three temperatures: S3=2.873×10-17 cm2molec-1cm-1, S2=3.622×10-17 cm2molec-1cm-1. The spectral region of the 1 around 1700 cm-1 was not covered in these measurements since the low pass filter cut-off was at 1400 cm-1. In the first measurements without optical filter this band was present (see Figure 3). From the areas of the three bands together with the band strengths for 3 and 2 the 1 band strength was estimated to be 5.25(26)×10-17 cm2molec-1cm-1.

5. Uncertainty of band strengths

The statistical uncertainty of the area is very small (0.06% worst case) and can be ignored. The maximum difference among the band strengths in Table 2 can be regarded as worst case uncertainty: S3 1.7%, S2 4.1%. This error includes baseline quality, overall reproducibility under different conditions (temperature and pressure), etc.

Further error sources are: pressure error, temperature error, spectral resolution, decomposition stoichiometry, sample and window thermal emission.

Pressure error: 0.35% (see above)

Worst case number density error from temperature error: 0.1% from number density uncertainty at 200 K for 0.2 K temperature error.

Spectral resolution: A systematic error occurs when the spectral resolution is not sufficient to resolve the spectral features. In order to obtain absorption cross sections with less than 0.1% error the instrumental lineshape full width at half maximum (FWHM) should be four times smaller than the narrowest feature encountered in the monochromatic spectrum. This was tested by convolving a Lorentzian function with a FTS instrumental lineshape function. In case of a Gaussian the instrumental lineshape FWHM needs to be only 2 times smaller. Since the band structure could be resolved (see Section 7) and the Doppler line width is extraordinary small (FWHM 0.00071 cm-1 at 800 cm-1 and 220 K) for this heavy molecule this requirement could not be fulfilled. In case of the area determination needed to obtain the band strength it is sufficient to have an instrumental resolution which is about equal to the Doppler width as shown below. This can be achieved with the largest MOPD of the interferometer of 529 cm giving an instrumental resolution of 0.00095 cm-1 while the Doppler width at 220 K is 0.00071 cm-1. The peak optical depth of an isolated line is decreased by 35% due to the instrumental resolution. The MOPD in the high resolution measurement was reduced from 529 cm to 310 cm, absorption cross sections were calculated and the area under the 3 band was determined. This reduction of the MOPD corresponds to a decrease in isolated line peak optical depth of 35%, too. It was assumed that the area error when going from Doppler limited spectra to 529 cm MOPD is the same as for the transition from 529 cm MOPD to 310 cm MOPD. The area was 0.1% smaller which is negligible. For the band strength determination a short measurement time is needed to minimize decomposition. This cannot be achieved with high resolution. A compromise was a MOPD of 36 cm corresponding to a resolution of 0.014 cm-1. This resolution is better than those of the relevant remote sensing instruments as shown below. The area error due to resolution reduction was modelled from the high resolution measurement by truncating it to lower resolution. Low and high resolution absorption cross sections were calculated and spectra for different pressures modelled. Pseudo absorption cross sections were calculated and integrated. For 0.1 mbar BrONO2 pressure the area errors for both bands were -0.3% while for 0.3 mbar the errors were about -0.8%. The area was corrected by +0.5%, the remaining uncertainty is ±0.3%.

Sample and window thermal emission: The maximum error occurs for ambient temperature and the band at lower wavenumber (3) and is +0.4%. This was deduced from differences of sample measurements with different sources (Globar, blackbody at ambient temperature). In case of 2 the worst case error is about +0.15%. Since the Planck function is proportional to the error and the average temperature is about 243 K (measurements were taken at 263, 243, and 223 K) the error is half of the error at 296 K at 800 cm-1 since the Planck function at 243 K is about half that at 296 K. Thus, the error at 1250 cm-1 is negligible (0.075%). The 3 area was corrected by -0.2%.

Decomposition stoichiometry: For the decomposition of BrONO2 it was assumed that the contaminants were already present in the sample. In case of HNO3 it is possible that formation occurs in the vacuum system or cell by reaction with water. In this case Br2 and O2 would be formed according to Eq. (2). The fraction of HNO3 has then to be multiplied by 1.75 to account for the formed Br2 and O2. The band strength would be larger by +0.7%. The areas were corrected by -0.35%, the remaining uncertainty is ±0.35%.

Sample composition errors: A direct proof that the sample pressure measured is the sum of BrONO2 pressure and known contaminants’ pressures cannot be given. Although Br2 UV measurements were recorded only once it was excluded that larger amounts of Br2 were present than BrONO2 hydrolysis stoichiometry infers. A contaminant which would cause a systematic error must have the following properties: 1.A It is present in the stored sample or 1.B decomposition happens in the vapor phase during filling. 2. It has no or very weak infrared bands. 3. The mixing ratio in the gas phase above the stored sample is constant over several fillings (1.A true) or the decomposition in the vapor phase is independent of pressure and cell temperature (1.B true). Since a combination of all conditions is very unlikely a hidden systematic error in the sample pressure was excluded.

The total RSS for the 3 area is 1.8% and for the 2 area 4.2%. Areas corrected for systematic errors are: S3=2.872(52)×10-17 cm2molec-1cm-1, S2=3.63(15)×10-17 cm2molec-1cm-1.

6. BrONO2 measurements for absorption cross section determination

Measurements are required spanning the temperature and air pressure range relevant for the Earth’s atmosphere. Since the absorption cross section area of entire band systems is independent of air pressure and temperature [8] only relative absorption cross sections, which can be scaled to the band strength described in the last section, are needed.

All measurements are listed in Table 3. There are 13 pure BrONO2 measurements, some under similar conditions for redundancy. For measurements #6 to #10 the cell was filled at 233.7 K, closed, and heated by 10 K after each measurement. Since no pressure measurements were performed the pressure was omitted for #6 to #9. A similar procedure was followed for measurements #11 – #13. 25 measurements were carried out with air broadening. First, BrONO2 was filled in and the valve between cell and vacuum system was closed and the vacuum system pumped. Then the vacuum system was filled with synthetic air to a pressure suited to obtain the desired total pressure after expansion into the cell. The valve to the cell was opened for a short time to reach equal pressure, then closed again. After measurement the procedure was repeated for the next higher total pressure. The BrONO2 pressure in the Table 3 was measured prior to adding air. Before forming transmittance spectra detector non-linearity correction was performed assuming a 3rd order polynomial detector curve by minimizing out-of-band spectral features introduced by the non-linearity. Two columns of Table 3 contain rms S/N ratios for 3 and 2 Q branch peaks which are approximately the maximum S/N values of the individual bands. The smallest values down to 70 occur for 204 K due to the low vapor pressure and thus low absorption signal of BrONO2. For measurements at higher temperature S/N ratios are varying strongly with a maximum of 700. In the last column the ratio of the actual 3 band strength and the reference band strength determined in the last section is given. The actual band strength is calculated from absorption cross sections where contaminant spectra are already removed. For calculation of these cross sections the contaminant partial pressures were subtracted from the measured pressures. Some of the pure BrONO2 measurements (#5 - #13) were taken when production, purification, and filling procedures were not optimized and the ratios are only between 0.4 and 0.9. Pressures for 204 K measurements are uncertain and ratios are found between 0.3 and 1.1. This is caused by the low vapor pressure leading to condensation/evaporation inside the cell after pressure measurement (valve between cell and pressure transducer closed). All other measurements have ratios close to 1 indicating the high quality of the number density determination. For measurements where air was added successively the ratios show a small decomposition (263 K: 1.8%, 243 K: 1.8%, 223 K: 3.2%).

To give an impression of temperature and pressure dependence of the absorption cross sections the 3 Q branch region is shown in Figures 6 and 7. It can be seen that the Q branch intensity strongly increases with decreasing temperature and that the rotational structure is decreasing with pressure and vanishing at 190 mbar air pressure.

Table 3. BrONO2 measurements. Measurements used in band strength determination are included and have item numbers 1, 2, and 4 in agreement with Table 2. The S/N ratios are rms values.

| # | PBrONO2/mbar | Ptot/mbar | T/K | Meas. time/s | S/N @ 3 Q branch | S/N @ 2 Q branch | S3act/S3ref |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.1508 | - | 263.5 | 154 | 180 | 350 | 0.983 |
| 2 | 0.2370 | - | 243.6 | 154 | 400 | 660 | 0.999 |
| 4 | 0.1318 | - | 223.8 | 154 | 270 | 460 | 1.009 |
| 5 | 0.3182 | - | 293.3 | 308 | 210 | 390 | 0.435 |
| 6 |  | - | 273.4 | 308 | 150 | 260 | 0.767 |
| 7 |  | - | 263.5 | 308 | 170 | 340 | 0.797 |
| 8 |  | - | 253.6 | 308 | 180 | 340 | 0.802 |
| 9 |  | - | 243.6 | 308 | 190 | 340 | 0.806 |
| 10 | 0.0943 | - | 233.7 | 308 | 220 | 370 | 0.883 |
| 11 | 0.0966 | - | 223.8 | 154 | 130 | 200 | 0.699 |
| 12 |  | - | 213.9 | 154 | 100 | 170 | 0.551 |
| 13 |  | - | 204.1 | 924 | 130 | 210 | 0.309 |
| 14 | 0.0310 | - | 204.0 | 308 | 110 | 200 | 1.100 |
| 15 | 0.3182 | 73.75 | 293.3 | 308 | 200 | 370 | 0.430 |
| 16 | 0.3182 | 150.50 | 293.3 | 308 | 180 | 360 | 0.407 |
| 17 | 0.3125 | 6.09 | 263.5 | 154 | 410 | 720 | 0.956 |
| 18 | 0.3125 | 11.99 | 263.5 | 154 | 410 | 710 | 0.954 |
| 19 | 0.3125 | 23.57 | 263.5 | 154 | 400 | 700 | 0.950 |
| 20 | 0.3125 | 47.42 | 263.5 | 154 | 390 | 690 | 0.945 |
| 21 | 0.3125 | 94.69 | 263.5 | 154 | 380 | 670 | 0.942 |
| 22 | 0.3125 | 187.80 | 263.5 | 154 | 360 | 660 | 0.938 |
| 23 | 0.2370 | 5.94 | 243.6 | 154 | 390 | 660 | 0.992 |
| 24 | 0.2370 | 12.20 | 243.6 | 154 | 390 | 660 | 0.989 |
| 25 | 0.2370 | 25.13 | 243.6 | 154 | 380 | 640 | 0.986 |
| 26 | 0.2370 | 48.36 | 243.6 | 154 | 370 | 620 | 0.980 |
| 27 | 0.2370 | 95.16 | 243.6 | 154 | 350 | 610 | 0.974 |
| 28 | 0.1318 | 5.87 | 223.8 | 154 | 270 | 460 | 1.007 |
| 29 | 0.1318 | 11.88 | 223.8 | 154 | 270 | 450 | 1.001 |
| 30 | 0.1318 | 24.05 | 223.8 | 154 | 260 | 430 | 0.995 |
| 31 | 0.1318 | 46.37 | 223.8 | 154 | 250 | 430 | 0.990 |
| 32 | 0.1318 | 91.32 | 223.8 | 154 | 240 | 410 | 0.988 |
| 33 | 0.1318 | 181.80 | 223.8 | 154 | 230 | 400 | 0.977 |
| 34 | 0.0310 | 5.79 | 204.0 | 308 | 100 | 170 | 0.951 |
| 35 | 0.0310 | 11.98 | 204.0 | 308 | 90 | 150 | 0.910 |
| 36 | 0.0310 | 23.71 | 204.0 | 308 | 80 | 160 | 0.886 |
| 37 | 0.0310 | 44.71 | 204.0 | 308 | 80 | 130 | 0.858 |
| 38 | 0.0310 | 87.49 | 204.0 | 308 | 80 | 140 | 0.818 |
| 39 | 0.0310 | 172.80 | 204.0 | 308 | 70 | 120 | 0.762 |
| 40 | 0.3182 |  | 293.0 | 4.5 h | 90 | 160 |  |
| 41 | 0.2248 |  | 223.0 | 16 h | 170 | 300 |  |

Figure 6. 3 Q branch of pure BrONO2 at different temperatures.

Figure 7. 3 Q branch of air-broadened BrONO2 at different total pressures and 223 K.

7. BrONO2 high resolution measurements

Measurements #40 and #41 in Table 3 were recorded at highest resolution (see Table 1) for future line position analysis and spectral resolution error investigation. This is the first time that resolved infrared spectra of BrONO2 have been measured. In Figure 8 an overview of the high resolution 3 band at 223 K together with excerpts of the Q branch and R branch regions are presented. Beside an unresolved pseudo-continuum with a maximum absorption of about 5% in P and R branches and 17% in the Q branch there is resolved structure with 28% absorption in P and R branches and 21% in the Q branch. The FWHM of the narrowest features corresponds to that of the instrumental line shape (0.6/529 cm-1 = 0.0011 cm-1). These high resolution data allow assigning individual rovibrational transitions and doing quantum-mechanical data reduction.

Figure 8. Overview (A) and Q and R branch excerpts (B, C) of the high-resolution pure BrONO2 transmittance spectrum at 223 K (#41 in Table 3).

8. Absorption cross section analysis

The data analysis is similar to ClONO2 where 2D-polynomials in T and ln(P(mbar)+5) were fitted to each spectral data point [8]. However, the input absorption cross section data had some distinct differences to the ClONO2 data:

1. Contaminant spectra were subtracted

2. Baseline was corrected using regions left and right of the main bands

3. Spectral areas were scaled to the band strengths

4. In several cases, especially at low temperatures, two absorption cross section data sets were calculated from the same sample measurement using empty cell spectra taken before and after the sample measurement. As mentioned above solid state reactions at the window surface occurred, increasing with decreasing temperature, leading to broadband absorption features changing during the measurement.

A new multispectrum fitting code was written in IDL (Interactive Data Language by Exelis Visual Information Solutions, Inc.). The 2D-polynomial fit as used for ClONO2 was implemented with some extensions. As in case of ClONO2 individual absorption cross section data sets were weighted according to their noise level. An additional weighting was used to account for measurements calculated with different empty cell spectra and thus entered twice. In some cases the baseline in the input absorption cross sections was poor due to solid state spectral features from the windows which happened mostly at lowest temperatures. A baseline polynomial defined in the spectral range for fitting of degree up to 4 together with a scaling factor for the absorption cross sections was fitted. This approach was used for 3.

In case of the 2 the contaminations with spectral features arising from the cell windows were significantly larger and the polynomial was insufficient to represent the baseline for some of the spectra. In such cases instead of the baseline polynomial a spline was fitted using 10 equally spaced points. Furthermore, instead of fitting a scaling factor the baseline-corrected absorption cross sections were scaled to match the band strength. It was tested that this is equivalent to fitting the scaling factor for 3. The areas under the baseline corrected 3 absorption cross sections were indeed equal to the band strength.

It should be mentioned that fit parameters related to baseline and scaling affect entire spectra while the 2D-polynomial coefficients are defined for individual spectral points. It was thus necessary to develop a nested fit for simultaneous determination of all parameters. In case of the ClONO2 analysis no baseline treatment was necessary and thus simple polynomial fitting was carried out for individual spectral points. Polynomial degrees/spline points and the information whether two empty cell spectra were used is given in Table 4. In case of the 2D-polynomials for each spectral point the degree in ln(Ptot(mbar) + 5) was 3 and in temperature 2. The range for 3 was 765 – 850 cm-1 and for 2 1210 – 1320 cm-1 corresponding to the integration ranges for band strength determination (see Section 4).

Table 4. Information about baseline fitting and empty cell spectra. In case of 2 in the last column “10” always refers to the number of spline points while “3” and “4” are baseline polynomial degrees.

| # | PBrONO2/mbar | Ptot/mbar | T/K | 2 empty cell spectra | Poly degree 3 | Poly degree/spline points 2 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.1508 | - | 263.5 |  |  | 3 |
| 2 | 0.2370 | - | 243.6 | X |  | 3 |
| 4 | 0.1318 | - | 223.8 | X |  | 3 |
| 5 | 0.3182 | - | 293.3 |  |  | 3 |
| 6 |  | - | 273.4 |  |  | 3 |
| 7 |  | - | 263.5 |  |  | 4 |
| 8 |  | - | 253.6 |  |  | 3 |
| 9 |  | - | 243.6 |  |  | 3 |
| 10 | 0.0943 | - | 233.7 |  |  | 3 |
| 11 | 0.0966 | - | 223.8 |  | 4 | 4 |
| 12 |  | - | 213.9 |  | 4 | 3 |
| 13 |  | - | 204.1 |  | 3 | 10 |
| 14 | 0.0310 | - | 204.0 | X | 4 | 10 |
| 15 | 0.3182 | 73.75 | 293.3 |  |  | 3 |
| 16 | 0.3182 | 150.50 | 293.3 |  |  | 3 |
| 17 | 0.3125 | 6.09 | 263.5 |  |  | 3 |
| 18 | 0.3125 | 11.99 | 263.5 |  |  | 3 |
| 19 | 0.3125 | 23.57 | 263.5 |  |  | 3 |
| 20 | 0.3125 | 47.42 | 263.5 |  |  | 3 |
| 21 | 0.3125 | 94.69 | 263.5 |  |  | 3 |
| 22 | 0.3125 | 187.80 | 263.5 |  |  | 3 |
| 23 | 0.2370 | 5.94 | 243.6 | X |  | 3 |
| 24 | 0.2370 | 12.20 | 243.6 | X |  | 3 |
| 25 | 0.2370 | 25.13 | 243.6 | X |  | 3 |
| 26 | 0.2370 | 48.36 | 243.6 | X |  | 3 |
| 27 | 0.2370 | 95.16 | 243.6 | X |  | 3 |
| 28 | 0.1318 | 5.87 | 223.8 | X |  | 3 |
| 29 | 0.1318 | 11.88 | 223.8 | X |  | 3 |
| 30 | 0.1318 | 24.05 | 223.8 | X |  | 3 |
| 31 | 0.1318 | 46.37 | 223.8 | X |  | 3 |
| 32 | 0.1318 | 91.32 | 223.8 | X |  | 3 |
| 33 | 0.1318 | 181.80 | 223.8 | X |  | 3 |
| 34 | 0.0310 | 5.79 | 204.0 | X | 4 | 10 |
| 35 | 0.0310 | 11.98 | 204.0 | X | 4 | 10 |
| 36 | 0.0310 | 23.71 | 204.0 | X | 4 | 10 |
| 37 | 0.0310 | 44.71 | 204.0 | X | 4 | 10 |
| 38 | 0.0310 | 87.49 | 204.0 | X | 4 | 10 |
| 39 | 0.0310 | 172.80 | 204.0 | X | 4 | 10 |

A graphic representation of the fit is given in Figure 9. All input absorption cross section sets are shown in black, the data calculated from the fit results in red, residuals in blue. The fitted baseline is displayed in green and is included in the calculated data.

In case of 3 baselines significantly differing from zero were found for all 204 K measurements (#13, #14, #34-#39) and those pure BrONO2 measurements at 214 K (#12) and 224 K (#11) where procedures were not yet optimized. As already mentioned in Section 4., baselines containing broadband structureless features can be caused by solid state deposits on the AgCl windows forming especially at low temperature. Since the shape of the baselines at 204 K have similarity with the band contour solid state deposits of BrONO2 itself on the windows are also feasible. The absorptions of deposits found in empty cell spectra had different spectral shapes and positions. The noise in the residuals reflects the Q branch S/N ratios from Table 3 except for the 293 K measurements where it is very small. In case of the 293 K data the measurement noise is fully transferred into the absorption cross sections (see Figure 10) due to the lack of redundancy.

In case of 2 the baselines were significantly larger than for 3 and more measurements affected. In some residuals insufficient modelling of HNO3 is visible, especially for those measurements where the procedures were not yet optimized and significant amounts of HNO3 were in the sample spectra.

A

B

Figure 9. Measured absorption cross sections (red), calculated (black), measured-calculated (blue), fitted baseline (green), zero line (green). A: 3, B: 2. Total pressure and temperature are displayed above the respective spectra and can be related to the entries in Tables 3 and 4. Individual spectra are separated by the tick marks.

9. Uncertainty considerations for modelled absorption cross sections

Due to the polynomial fitting the noise from the input absorption cross sections is reduced. The degree of noise suppression depends on the redundancy available for a given pressure/temperature. Noise in the modelled absorption cross sections for 3 was determined for a temperature grid between 200 and 300 K and a pressure grid between 0 and 200 mbar resulting in 3×6=18 grid points. Figure 10 contains a contour plot of the rms noise as function of pressure and temperature. Noise ranges between 4×10-21 and 3×10-20 cm2molec-1. The S/N ratio at the intensity maximum of the band ranges approximately between 100 and 1000. As expected the noise increases towards the extremes of temperature and pressure. Especially at 293 K the absorption cross section noise is completely transferred into the polynomials (very low fit residuals of 293 K measurements as can be seen in Figure 9). The signal to noise is excellent with respect to the remote sensing application [3] where the Q branch at 803 cm-1 is barely larger than the noise. Furthermore, the spectral resolution of the BrONO2 absorption cross sections (MOPD 36 cm) is better than that of MIPAS/ENVISAT (MOPD 20 cm) [15] and MIPAS-B2 (MOPD 14.5 cm) [16]. Thus, the shape of the absorption cross sections is sufficiently resolved.

Figure 10. Rms noise (in cm2molec-1) in the 3 absorption cross sections calculated from the polynomials as function of temperature and air pressure.

In Section 4 it was shown that there are errors in the area under the absorption cross sections due to spectral resolution insufficient for resolving the highly resolved structure in case of low total pressure. In the following relative errors in the absorption cross sections caused by the spectral resolution will be investigated. The starting point was the high resolution measurement #41. High resolution absorption cross sections were calculated and from this low resolution transmittance spectra for 0.01, 0.1, and 0.3 mbar modelled. Since the error is linked to the exponential functionality of Lambert-Beer’s law the 0.01 mbar case served as error-free reference. 0.1 and 0.3 mbar approximately enclose the applied sample pressures in the measurements. Absorption cross sections were calculated from all three cases, the areas determined, and the cross sections scaled to match the area of the error free 0.01 mbar “measurement”. This step simulates the preparation of input absorption cross sections for the 2D-polynomial fit where all data were scaled to the same reference area. The fractional differences of the 0.1 and 0.3 to the 0.01 mbar absorption cross sections were calculated and are displayed in Figure 11. From Table 3 it can be seen that ambient temperature and 263 K measurements have about 0.3 mbar, 243 K 0.24 mbar, 223 K 0.13 mbar, and 213 K 0.03 mbar BrONO2 partial pressure. The pressure decreases steadily with decreasing temperature. Thus, the error should also decrease steadily. Therefore, the polynomial coefficients contain the error which thus is not visible in the residuals of the polynomial fit in Fig. 9. There are also BrONO2 measurements at low pressure <0.1 mbar and temperatures above 263 K where residuals as shown in Fig. 11 are not visible since the noise is too large. The error was also modelled for 20 mbar total pressure (corresponding to ca. 27 km altitude) assuming a global air broadening parameter of 0.06 cm-1/atm. The high resolution absorption cross sections from measurement #41 were convolved with a Voigt function and the same procedure was followed as for the pure BrONO2 spectrum described above. The errors were found to be about a factor 3 less with respect to Fig. 11. Since BrONO2 is relevant between 22 and 32 km with pressures between 44 and 9 mbar and temperatures between 220 and 230 K the error is likely to be within 1% worst case. For the atmospheric retrieval of BrONO2 in the range 801–820 cm-1 [4] where the large Q branch is included this error can be neglected.

Figure 11. Spectral resolution induced fractional errors in absorption cross sections obtained from modelled 0.1 mbar (red) and 0.3 mbar (black) measurements.

10. Discussion

As already stated in the introduction the only band strength measurement was given by Burkholder et al. [5] for the 3. Their integration range for determining the band strength was 770–825 cm-1 only. Applying this range to the spectra used for area determination (see Section 4.) yields a band strength 2.6% smaller when compared to that using the range 765–850 cm-1. Thus, the integration range of Burkholder did not cover the entire band system since the small tail between 825 and 850 cm-1, clearly visible in Figure 4, is missing. The band strength in the reduced integration range of 2.798×10-17 cm2molec-1cm-1 is 3.6% larger than that of Burkholder et al. (2.7(5)×10-17 cm2molec-1cm-1). In view of the large error bar the agreement is excellent. Apparently the error bar in the Burkholder paper is rather conservative. Figure 12 shows the intercomparison between the present results and HITRAN. The HITRAN data were obtained with pure BrONO2. Since the spectral resolution of the HITRAN data was significantly smaller [6] (0.03 cm-1 vs 0.014 cm-1) a calculation with 150 mbar air broadening in order to compensate for the different spectral resolution is also shown. The 296 K HITRAN data are based on measurements by Orphal et al. [6], scaled to the band strength of Burkholder et al. [5]. The Q branch at 296 K is about 20% larger in Ref. [6] while it is only about 3.5% smaller in Ref. [5]. The shapes of P and R branch match better. In case of 218 K the HITRAN values were obtained by simulating the rotational structure and deducing a scaling procedure from line-by-line simulations at 296 and 218 K [3]. The scaling was applied to the HITRAN 296 K values. In contrast to the original measurements at 296 K the scaled Q branch at 218 K matches the present work better. The differences in P and R branch are more pronounced than in case of 296 K. In conclusion it should be mentioned that the difference between previous and present work at low temperatures relevant to atmospheric conditions is significantly smaller than the stated accuracy of 20% [3,5,6].

Figure 12. Comparison of HITRAN absorption cross sections with present results. Upper panels: 296 K, lower panels: 218 K. Left: overview, right: Q branch. Black: present results 0 mbar air, red: present results 150 mbar air, green: HITRAN, blue: HITRAN – present work 150 mbar air.

Orphal et al. [6] also presented band strengths for 1 (2.43(48)×10-17 cm2molec-1cm-1) and 2 (2.99(60)×10-17 cm2molec-1cm-1), based on scaling 3 to the Burkholder value. In the present work the corresponding band strengths are 5.25(26)×10-17 and 3.63(15)×10-17 cm2molec-1cm-1, respectively. For the 1 the value of Orphal et al. is 54% smaller and for the 2 18%. Values from ab initio calculations are taken from Table 1 in Ref. [6]. The averaged ab initio values (Refs. [11,12,13] in Ref. [6]) yield 5.72×10-17 for 1, 4.74×10-17 for 2, and 3.35×10-17 cm2molec-1cm-1 for 3. The ab initio values are larger by 10% for 1, 31% for 2, and 17% for 3.

With the new absorption cross sections the error due to the BrONO2 spectroscopy drops from 20 to 2%. There are still larger errors due to the knowledge of the spectroscopy of other species. BrONO2 3 atmospheric signals used for BrONO2 retrieval are very weak and buried below lines and broadband spectra of several species with much stronger signals [3]. Figure 13 shows the contributions of all relevant species to the BrONO2 fitting microwindow for a modelled limb spectrum [4] of MIPAS-B2. Beside species where line parameters are available (O3, CO2, and H2O) there are others where only absorption cross sections are known and error estimation is more difficult when temperature and air pressure dependence of absorption cross sections are not known. Retrieval simulations have shown that correlated intensity (10%) and air broadening (5%) changes for O3, CO2, and H2O have <10% influence on the BrONO2 amount [3]. Among the absorption cross section species, ClONO2 has the largest contribution to the limb spectrum followed by HNO4 as shown in Figure 13. ClONO2 signals are on average a factor 10 stronger when compared to the BrONO2 Q branch. Temperature and air pressure dependence of ClONO2 absorption cross sections are known well [8] and the spectra of ClONO2 and BrONO2 show little correlation in their intensity distributions. It is thus unlikely that the ClONO2 spectroscopy causes systematic errors >10%. The limb spectrum of HNO4 is about 7 times stronger (Q branches) when compared to BrONO2. The correlation of the HNO4 and BrONO2 spectra is significant with a Q branch 1 cm-1 lower than that of BrONO2 and overlapping R branches where the HNO4 R branch is broader (see Figure 13). In contrast to ClONO2 the HNO4 spectroscopic database is very sparse regarding temperature and air pressure coverage. There is a single absorption cross section data file for 220 K in HITRAN 2012 [7], which does by far not represent the full variability of the atmospheric state. It is not unlikely that the HNO4 absorption cross sections without any temperature and pressure dependence cause systematic errors >10% in the retrieved BrONO2 amount. Therefore it is important to improve the spectroscopic database of HNO4 taking into account the temperature dependence in a similar way as the present work.

The presented dataset is currently used to analyze the diurnal variation of BrONO2 from spectra measured with the MIPAS-balloon instrument during a mid-latitude flight on September 7-8th, 2014 [4].

Figure 13. Simulated limb spectra, MIPAS-B2, mid-latitude summer, observer altitude 40 km, tangent altitude 20 km. This figure is reproduced from Ref. [4], with kind permission by Gerald Wetzel.

Data access will be provided within WDC-RSAT at DLR (https://wdc.dlr.de/data_products/SPECTRA/). The user can download a binary file with polynomial coefficients and software code to extract absorption cross sections. The intermediate data products, transmittance spectra with contaminants and absorption cross section inputs, are not given since they are not useful for the end user. The input absorption cross sections are additionally baseline corrected in the 2D-polynomial fitting procedure and the direct use of input absorption cross sections would lead to systematic errors. On email request all data products are available.

Acknowledgements

The authors want to thank Johannes Orphal who encouraged us to do this work and Gerald Wetzel, Michael Höpfner, and Hermann Oelhaf for inputs to the discussion section. The authors thank Joep Loos for critically reading this manuscript. This work was partly funded by a grant from the Institute of Meteorology and Climate Research (IMK) of the Karlsruhe Institute of Technology (KIT). It was also supported by WDC-RSAT at DLR.

References

[1] J.S. Daniel, S. Solomon, R.W. Portmann, R.R. Garcia, J. Geophys. Res. D 104, (1999) 23871–23880.

[2] G. Wetzel, H. Oelhaf, M. Birk, A. de Lange, A. Engel, F. Friedl-Vallon, O. Kirner, A. Kleinert, G. Maucher, H. Nordmeyer, J. Orphal, R. Ruhnke, B.-M. Sinnhuber, P. Vogt, Atmos. Chem. Phys. 15 (2015) 8065–8076, doi: 10.5194/acp-15-8065-2015.

[3] M. Höpfner, J. Orphal, T. von Clarmann, G. Stiller, H. Fischer, Atmos. Chem. Phys. 9 (2009) 1735–1746.

[4] G. Wetzel, H. Oelhaf, F. Friedl-Vallon, A. Ebersoldt, T. Gulde, M. Höpfner, S. Kazarski, O. Kirner, A. Kleinert, G. Maucher, H. Nordmeyer, J. Orphal, R. Ruhnke, B.-M. Sinnhuber, Geophysical Research Abstracts Vol. 17 (2015) EGU2015-1552, 2015 EGU General Assembly, poster presentation.

[5] J.B. Burkholder, A.R. Ravishankara, S. Solomon, J. Geophys. Res. D 100 (1995) 16793–16800.

[6] J. Orphal, M. Morillon-Chapey, G. Guelachvili, Chem. Phys. Lett. 458 (2008) 44–47.

[7] L.S. Rothman, I.E. Gordon, Y. Babikov, A. Barbe, D.C. Benner, P.F. Bernath, et al., JQSRT 130 (2013) 4–50, http://dx.doi.org/10.1016/j.jqsrt.2013.07.002.

[8] G. Wagner, M. Birk, JQSRT 82 (2003) 443–460, doi:10.1016/S0022-4073(03)00169-9.

[9] A.G. Maki, J.S. Wells, NIST Spec. Publ. 821 (1991) 391–620.

[10] J. Orphal, Spectroscopie Infrarouge à Haute Résolution de Molécules Instables d’Intérêt Atmosphérique: ClONO2, ClNO2 et BrONO2. These de doctorat, Universite de Paris-Sud, Orsay, N° d’ordre: 3510.

[11] M. Schmeisser, L. Taglinger, Chem. Ber. 94 (1961) 1533–1539.

[12] M. Lísal, I. Nezbeda, W.R. Smith, J. Chem. Phys. 110 (1999) 8597–8604.

[13] J.E. Spencer, F.S. Rowland, J. Phys. Chem 82 (1978) 7–10.

[14] J.J. Orlando, G.S. Tyndall, J. Phys. Chem. 100 (1996) 19398–19405.

[15] H. Fischer, M. Birk, C. Blom, B. Carli, M. Carlotti, T. von Clarmann, L. Delbouille, A. Dudhia, D. Ehhalt, M. Endemann, J.-M. Flaud, R. Gessner, A. Kleinert, R. Koopmann, J. Langen, M. López-Puertas, P. Mosner, H. Nett, H. Oelhaf, G. Perron, J. Remedios, M. Ridolfi, G. Stiller, R. Zander, Atmos. Chem. Phys. 8 (2008) 2151–2188, doi:10.5194/acp-8-2151-2008.

[16] F. Friedl-Vallon, G. Maucher, M. Seefeldner, O. Trieschmann, A. Kleinert, A. Lengel, C. Keim, H. Oelhaf, H. Fischer, Appl. Opt. 43 (2004) 3335–3355.